## Slide 1: NCP CCE-LTER

## Slide 2: NCP and FRRF (GPP)
Model
DATA:
  MIMS and EIMS O2/Ar
  MIMS profiles
  Ship data
  2 SEASOAR transects- high spatial resolution MLD prior and after the stations
  4 stations (2 with high productivity)
  4 transects through filament

## Slide 3: EIMS / MIMS / ship-data temperature comparison
ML: mixed layer average temp
All data fall within 1C difference
Ship and MIMS seem to overlap best!
EIMS seems to have some negative (not consistent) offset
Temp (ship) is used for O2 solubility in NCP calc!
Discussion on which thermometer we should use!

## Slide 4: R-code
https://github.com/tbrycekelly/MIMS-TBK

## Slide 5: NCP parametrization
Wind data from NARR database!
k=200days ?
MLD = from CTDs and seasoar estimated by “delta.rho = 0.1” density change
O2/Ar from EIMS and MIMS
MLD from CCE- cruise

## Slide 6: EIMS calibration:
EIMS calibration is very consitend, ranging between 25 to 25.6 .

## Slide 7: MIMS calibration:
MIMS calibration shows a strong drift!
This is likely due to the change in membrane diffusivity for O2 and Ar and or potentially due to H2O in the system?
Ionization changes?
0.01mm PTFE membrane with 0.5mm PTFE frit.
Changed membrane around June 18. Did not change the frit!
O2 conc. in calibration was relatively constant (+- 2%)
-> TOM – can you plot this?

## Slide 8: EIMS data
Red dots -outlier

## Slide 9: EIMS data
EIMS-O2 data deviate!!!! Why?

## Slide 10: MIMS data

## Slide 11: MIMS data

## Slide 12: MIMS vs. EIMS NCP stations
Clear diurnal pattern in cycles 1 and 2
Add light intensity!
Add wind-speed!
Deviation of NCP in cycles 3 and 4!!
Why?

## Slide 13: EIMS spatial data
Example:

## Slide 14: Data - spatial
NCP MIMS SEASOAR2
NCP EIMS SEASOAR2

## Slide 15: Further data analysis / comparison
Use CCE-LTER dataset to verify data!
  14C GPP /NPP
  Bacteria productivity (resp1)- in the mixed layer
  Grazing rate (resp2) – in the mixed layer

## Slide 16: Diurnal cycles
Use O2 flux – not NCP!
Data from cycles 1-4

## Slide 17: Impact of diurnal cycles on NCP analysis:
See Jonsson et al 2013 – work on MLD and wind – use his model framework to analyze diurnal impact!
Diurnal NCP should is supposed to include the O2 signal from the past days - yet diurnal O2 changes dramatically – hence diurnal changes influence O2/Ar analysis!
Use of cycle (1 and 2) data (up to 4 days)
Build hypothetical model framework!
Use of high frequency FRRF GP data to potentially correct for the diurnal signal in the SEASOAR data!

## Slide 18: Impact of hydrodynamics on NCP
Use O2 profile data
Use physical model
Use O2/Ar profiles

## Slide 19: FRRF
Available data:
Ek – light saturation
JVPII (mol electrons PSII-1 m-3 d-1) – to be converted to mol C fix
Calculate/plot electron transport for each of the cycles / cruise segments – using P-E analysis and (incident or average) light intensity throughout the mixed layer.